PART 1 GENERAL

  - RELATED DOCUMENTS

  - Refer to section [insert related Division 3 concrete specification number] for waterproof concrete specification. The waterproofing in the following areas is integral to the concrete, not applied as a membrane.

  - SUMMARY

  - Concrete with Waterproof Admixture will be used as indicated on the project drawings for the following:

Revise list below to suit Project.

    - Footings

    - Foundation walls

    - Slabs-on-grade

    - Suspended slabs

    - Water tanks

    - Tunnels

    - (Other-specify)

# Text boxes

Hycrete, Inc.

14 Spielman Road

Fairfield, NJ 07004

Office: (201) 386-8110

Fax: (201) 386-8155

Website:	   www.hycrete.com

SECTION 07 10 11

WATERPROOF CONCRETE

DIVISION 7 SPECIFICATION

This specification section is optional and to be used in addition to section 03 05 00 – Waterproof Concrete Admixture, used in long form or outline.  It is advised to use this section as a reminder to contractors that there is a separate waterproofing specification to be found outside Division 7, where most contractors expect to find waterproofing specifications.

These specifications refer to Hycrete W500, a waterproof concrete admixture, which reduces the absorptivity of concrete. Please contact Hycrete to ensure that this product is suitable for your project.

For information on Hycrete W500, including performance and applications, please contact Hycrete, Inc. or visit www.hycrete.com.