Hycrete, Inc.

14 Spielman Road

Fairfield, NJ 07004

Office: (201) 386-8110

Fax: (201) 386-8155

Website:	   www.hycrete.com

SECTION 07 10 12

WATERPROOF CONCRETE CONSTRUCTION

DIVISION 7 SPECIFICATION

This specification section is optional and to be used in addition to section 03 05 12 – Waterproof Concrete Construction, used in long form or outline.  It is advised to use this section as a reminder to contractors that there is a separate waterproofing specification be found outside Division 7, where most contractors expect to find waterproofing specifications.

Hycrete 360 (Formerly Hycrete System W) consists of: (1) Hycrete Endure WP (Formerly Hycrete W1000) hydrophobic concrete admixture, a green, high-performing admixture which reduces the absorptivity of concrete; (2) Service during design, preconstruction, and construction; and (3) Performance warranty.

Please note that the service and performance warranty are only available when the application is suitable for membrane-free construction and approved by Hycrete. Please contact Hycrete to ensure that the full system can be available for your project.

For information on Hycrete 360, including performance and applications, please contact Hycrete, Inc. or visit www.hycrete.com.

PART 1 GENERAL

  - RELATED DOCUMENTS

  - Refer to section [insert related Division 3 concrete specification number] for waterproof concrete construction specification. The waterproofing in the following areas is integral to the concrete, not applied as a membrane.

  - SUMMARY

  - Concrete with Hydrophobic Concrete Admixture and System will be used as indicated on the project drawings for the following:

Revise list below to suit Project.

    - Footings

    - Foundation walls

    - Slabs-on-grade

    - Suspended slabs

    - Water tanks

    - Tunnels

    - Elevators

    - (Other-specify)